CHAPTER- 5

Bio Medical Waste (Management and Handling)Rules 1998

5.1	 Prescribed Authority

- The Government of every State and Union Territory shall establish a prescribed authority with such members as may be specified for granting authorization and implementing these rules. If the prescribed authority comprises of more than one member, a chairperson for the authority shall be designated.

- The prescribed authority for the State or Union territory shall be appointed within one month of the coming into force of these rules.

- The prescribed authority shall function under the supervision and control of the respective Government of the State or Union Territory.

- The prescribed authority shall on receipt of Form I make such enquiry as it deems fit and if it is satisfied that the applicant posses the necessary capacity to handle bio-medical waste in accordance with these rules, grant or renew an authorization as the case may be.

- An authorization shall be granted for a period of three years, including an initial trial period of one year from the date of issue. Therefore, an application shall be made by the occupier/operator for renewal. All such subsequent authorization shall be for a period of three years. A provisional authorization will be granted for the trail period, to enable the occupier/operator to demonstrate the capacity of the facility.

- The prescribed authority may after giving reasonable opportunity of being heard to the applicant and for reasons thereof to be recorded in writing, refuse to grant or renew authorization.

- Every application for authorization shall be disposed of by the prescribed authority within ninety days from the date of receipt of the application.

- The prescribed authority may cancel or suspend an authorization, if for reasons, to be recorded in writing, the occupier/operator has failed to comply with provision of the Act or these rules.

- Provided that no authorization shall be cancelled or suspended without giving a reasonable opportunity to the occupier/operator of being heard.

5.2	 Authorization

- Every occupier of an institution generating, collecting, receiving, storing, transporting, treating, disposing and/or handling bio-medical waste in any other manner, except such

- Occupier. Of clinics, dispensaries, pathological laboratories,

- Blood banks providing treatment/service to less than 1000 (one thousand) patients per month, shall make an application in Form I to the prescribed authority for grant of authorization

- Every operator of a bio-medical waste facility shall make an application in Form I (Annexure) to the prescribed authority for grant of authorization.

- Every application in Form I for grant of application shall be accompanied by a fee as may be prescribed by the Government of the State or Union Territory.

5.3	 Advisory committee

The government of every state/union territory shall constitute an advisory committee. The committee will include experts in the fields of medical and health, animal husbandry and veternity sciences, environmental management, municipal administration, and any other related department or organization including no government organization. The state pollution control board/pollution control committee shall be represented. As and when required, the committee shall advise the government of the state/union territory and the prescribed authority on matters related to the implementation of these rules.

5.4	Standards for treatment and disposal of bio-medical wastes

5.4.1	Standards For Incinerators

All incinerators shall meet the following operating and emission standards:

(a) 	Operating Standards

- Combustion efficiency (CE) shall be at least 99.00%. The Combustion efficiency (CE) is computed as C.E.= %CO2  x l00 %CO2 + %CO

- The temperature of the primary chamber shall be 800 j : 50 deg. oC.

- The secondary chamber gas residence time shall be at least 1 (one) second at

- 1050 + 50 °C, with minimum 3% Oxygen in the stack gas.

(b)	 Emission Standards:

| S.No. | Parameters | Concentration mg/Nm3 at (12% C02 correction) |
| --- | --- | --- |
| 1. | Particulate matter | 150 |
| 2. | Nitrogen Oxides | 450 |
| 3. | HCI | 50 |

Minimum stack height shall be 30 meters above ground.  Volatile organic compounds in ash shall not be more than 0.01 %.  Suitably designed pollution control devices should be installed/retrofitted with the incinerator to achieve the above emission limits, if necessary. Wastes to be incinerated shall not be chemically treated with any chlorinated disinfectants. Chlorinated plastics shall not be incinerated. Toxic metals in incineration ash shall be limited within the regulatory quantities as defined under the Hazardous Waste (Management & Handling) Rules, 1989. Only low sulphur fuel like L.D.O./L.S.H.S./Diesel shall be used as fuel in the incinerator.

5.5	 Standards for Waste Autoclaving:

The autoclave should be dedicated for the purposes of disinfecting and treating biomedical waste.

When operating a gravity flow autoclave, medical waste shall be subjected to:

- A temperature of not less than 121°C and pressure of 15 pounds per square inch (psi) for an autoclave residence time of not less than 60 minutes; or

- A temperature of not less than 135°C and pressure of 31 psi for an autoclave residence time of not less than 45 minutes; or

- A temperature of not less than 149°C and pressure of 31 psi for an autoclave residence time of not less than 30 minutes.

When operating a vacuum autoclave, medical waste shall be subjected to a minimum of one pre-vacuum pulse to purge the autoclave of all air. The waste shall be subjected to the following;

- A temperature of not less than 121 °C and pressure of 15 psi for an autoclave residence time of not less than 45 minutes; or

- A temperature of not less than 135°C and pressure of 31 psi for an autoclave residence time of not less than 30 minutes.

- Medical waste shall not be considered properly treated unless the time, temperature and pressure indicators indicate that the require time, temperature and pressure were reached during the autoclave process. If for any reasons, time temperature or pressure indicator indicated that the required temperature, pressure or residence time was not reached, the entire load of medical \waste must be autoclaved again until the proper temperature, pressure and residence time were achieved.

- Each autoclave shall have graphic or computer recording devices which will automatically and continuously monitor and record dates, time of day, load identification number and operating parameters throughout the entire length of the autoclave cycle.

- The autoclave should completely and consistently kill the approved biological indicator at the maximum design capacity of each autoclave unit. Biological indicator for autoclave shall be Bacillus stearothermophilus spores using vials or spore strips, with at least 1 x 104 spores per milliliter. Under no circumstances will an autoclave have minimum operating parameters less than a residence time of 30 minutes, regardless of temperature and pressure, a temperature less than 121°C or a pressure less than psi.

- A chemical indicator strip/tape that changes color when a certain temperature is reached can be used to verify that a specific temperature has been achieved. It may be necessary to use more than one strip over the waste package at different location to ensure that the inner content of the package has been adequately autoclaved.

5.6 	Standards for Liquid Waste

Parameters			Permissible limits

pH    				6.5-9.0

Suspended solids 		 100 mg/l

Oil and grease 		 10 mg/l

BOD 				 30mg/l

COD 				250 mg/l

Bioassay tests 			90% survival of fish after 96 hours in 100% effluent.

These limits are applicable to those hospitals, which are either reconnected with sewer without terminal sewage treatment plant or not connected to public sewers. For discharge into public sewers with terminal facilities, the general standards as notified under the Environment (protection) Act, 1986 shall be applicable.

5.7 	Standards Of Microwaving

Microwave treatment shall not be used for cytotoxic, hazardous or radioactive wastes, contaminated animal carcasses, body parts and large metal items. The microwave system shall comply with the efficiency test/routine tests and a performance guarantee may be provide by the supplier before operation of the unit. The microwave should completely and consistently kill the bacteria and other pathogenic organisms that are ensured by approved biological indicator at the maximum design capacity of each microwave unit. Biological indicators for microwaves shall be Bacillus Sub tiles spores using vials or spore strips with at least 1 x 104 spores per millimeter

5.8	 Standards for Deep Burial

A pit or trench should be dug about 2 meters deep. It should be half filled with waste, and then covered with lime within 50 cm of the surface, before filling the rest of the pit with soil:

- It must be ensured that animals do not have any access to burial sites. Covers of galvanized iron/wire meshes may be used.

- On each occasion, when wastes are added to the pit, a layer of 10 cm of soil shall be added to cover the wastes.

- Burial must be performed under close and dedicated supervision.

- The deep burial site should be relatively impermeable and no shallow well should be close to the site.

- The pits should be distant from habitation, and sited so as to ensure that no contamination occurs of any surface water or groundwater. The area should not be prone to flooding or erosion.

- The location of the deep burial site will be authorized by the prescribed authority.

- The institution shall maintain a record of all pits for deep burial.

5.9	 Report

Every occupier/operator shall submit an annual report to the prescribed authority in Form IT (Annexure-ill) by 31st January every year, to include information about the categories and quantities of bio-medical wastes handled during the preceding year. The prescribed authority shall send this information in a compiled form to the Central Pollution Control Board by 31st  March every year.

5.10	 Maintenance of Records

Every authorized person shall maintain records related to the generation, collection reception, storage, transportation, treatment, disposal and/or any form of handling of biomedical waste in accordance with these rules and any guidelines issued. All records shall be subject to inspection and verification by the prescribed authority at any time.

5.11	Accident Reporting

When any accident occurs at any institution or facility or any other sites where biomedical waste is handled or during transportation of such waste, the authorized person shall report the accident in Form III (Annexure-IV) to the prescribed authority forth with.

5.12.	  Appeal

Any person aggrieved by an order made by the prescribed authority under these rules may, within thirty days from the date on which the order is communicated to him, prefer an appeal to such authority as the Government of State/Union Territory may think fit to constitute.