CERTIFICATE

This is to certify that the thesis entitled “DESIGN AND DEVELOPMENT OF ELECTRONIC ENERGY METER” is submitted by MR. SUNIL KUMAR PANDEY towards partial fulfillment of the requirements for the award of Degree “ MASTER’S OF ENGINEERING IN ELECTRICAL ENGG. (CONTROL & INSTRUMENTATION)” is a bonafide report of his work carried out under my supervision and guidance. The matter embodied in this thesis has not been submitted elsewhere for award of any other Degree or Diploma.

DELHI						Dr. MADHUSUDAN SINGH

2007							ASSISTANT PROFESSOR

DEPTT. OF ELECT. ENGG

DELHI COLLEGE OF ENGG

DELHI

ACKNOWLEDGEMENT

It is a matter of great pleasure for me to express my deep sense of gratitude and thanks to my guide, Dr. Madhusudan Singh, Assistant Professor, Electrical Engg. Dept., Delhi College of Engg., for his valuable guidance, constant encouragement and helpful discussion throughout the course of work.

I would like to thank Dr. Parmod Kumar, Professor and Head of Deptt. Electrical Engg., Delhi College of Engg., for his helpful suggestions & kind cooperation extended to me during the course of  course work.

DELHI						SUNIL KUMAR PANDEY

2007							M.E (Control & Instrumentation)				                      		           (15/C & I /2005)

University Roll No. : 2610

ABSTRACT

In past, traditional electro mechanical meters have been the instrument used by the utility companies to measure residential and commercial power consumption. In recent years electronic energy meter has gained an increasingly important role in energy measurement and popularity due to various advantages over the traditional electro mechanical meters like higher energy measurement accuracy, provision for networking and low cost etc.  This thesis entitled “Design and Development of Electronic Energy Meter” deals with design of different blocks of single phase and three phase electronic energy meter such as design of current sensor, designing of voltage sensor, designing of power supply, designing of display unit etc. Tests were performed on single phase and three phase electronic energy meter to prove the conformity of the requirements. The basic instrumentation circuit of single phase and three-phase electronic energy meter has been identified and implemented using discrete components.  Design specifications consist of components, rating and functional block diagram of electronic energy meter Literature review of various papers published in International conferences are also reported in the thesis.

It has been observed that designed energy meters gives the energy information proportional to the real power consumed in the various load whatever of its nature (i.e. unity P.F. condition, or non unity P.F. condition, sinusoidal voltage and current under non sinusoidal voltage and current) and meet the requirement.

CONTENTS

ABSTRACT

1.	Introduction	1

1.0.	General	1

1.1	Functional Block Diagram of Electronic Energy Meter	2

1.2	Literature review	3

1.3	Conclusion	9

2.	Design of Single Phase Electronic Energy Meter	10

2.0	General.	10

2.1	Design Block Diagram	10

2.2	Design Calculations	10

2.3	Conclusion	23

3.	Design of Three Phase Electronic Energy Meter	24

3.0	General	24

3.1	Design Block Diagram	24

3.2	Design Calculations	24

3.3	Conclusion	37

4	Development of Electronic Energy Meter.	38

4.0	General	38

4.1	Development of Single Phase Electronic Energy Meter.	38

4.2	Development of Three Phase Electronic Energy Meter	44

4.3	Conclusions	49

5.	Calibration and Testing of Electronic Energy Meter.	50

5.0	General	50

5.1	Calibration	50

5.2	Tests carried out on Electronic Energy Meters	51

5.3	Tests Performed on Energy Meters                                                             55

5.4	Conclusion	72

6.	Conclusion and Future scope of work.	73

6.1	Conclusion	73

6.2	Future Scope of Work	74

REFERENCES	75