SUBSTATION MONITORING & CONTROL SYSTEM

Begin

Node communication

Process the data

If

Continue

Select the last Mode & ID

Output Screen

End

No

PRORGRAM FLOW CHARTS

Figure-3.6

yes

Load  the records

Select Last Mode & ID

Begin

Fetch  Records, which has been previously selected

Process the Ratio

Load  the records

Fetch all the records, which has been previously selected

End

If

Multi Mode

Figure- 3.7

No

yes

Begin

Wait for acknowledge ment

If acknowledge ment

Wait for acknowledge ment

Send the request to a node with time stamp

Send the next packet for number of transaction

A

D

D

Node Communication

Figure- 3.8

No

Yes

A

If Transaction

Wait for Number of transaction

Send the next packet for data collection

Wait for Data

B

Send the command to the node for collect the data

D

No

Yes

B

If

Data

Receive the  data and stored into variable

Send the next packet for Release the communication

Wait for release message

D

C

No

Yes

# Yes

If

Release true

C

End

D

No

Yes

Data Processing

Begin

If

Electrical Node

Calculate the Current, Voltage,  power factor  for all three phases

Calculate the Apparent , Active, Reactive power for all three phases

Calculate the Temperature, pressure, level, speed, flow, pH values

Calculate the active imported & exported  Energy, Reactive inductive & capacitate Energy and frequency

End

Figure -3 .9

No

Yes

Output Screen

Figure – 3.10

Begin

If

Electrical Node

End

Displays all the calculated values

Display Demand & status information

Display Demand & status information

Displays all the calculated  Physical  parameters

N      No

Yes

Node configuration

Begin

Input the Node ID, name, Type

If type is

Electrical

Input secondary & primary voltage and secondary & primary current

Calculate the CT & Volt ratio

Input the channel No, name, type of node, low &  high range,  unit parameters

End

Figure- 3.11

No

No

Yes

In the present  Chapter the implementation  details of the Substation Monitoring and Control System has been given.  The system has been built around Energy Node Plus (ENP), the ATMEL Two Chip Solution.