Appendix 'A'

CORRELATIONS FOR THERMODYNAMIC PROPERTIES

OF R 290 AND R 600A

Reynolds* also gives correlations for R 290 and R 600a which are as follows.

Vapour Pressure Correlation

In Ps/Pc = TcT=1−i=18PiTsT=1i−1	(i)

The constants are given in the table below:

Constants 	Propane	Isobutene

P1	-6.230993	-6.3016457

P2	-44226860 × 10-1	2.1880736 × 10-1

P3	-1.8839624	-1.1288158

P4	3.6383362 × 10-1	2.2391095

P5	1.5177354 × 101	1.065363

P6	1.1216551 × 102	9.3322720

P7	2.7635840 × 102	2.4836848 × 101

P8	2.358535 × 102	3.7187854 × 101

Pp	300	300

Pc	4.2359300 × 106	3.6845470 × 106

From Eq. (i) we obtain

d Psd Ts=Ps[−TcTs2i=18PiTsTp−1i−1+ TcTs−11TPTsTP−1i−2i=18i−1 Pi]	 (ii)

Equation of State and Vapour Phase Enthalpy & Entropy

Reynolds has used the following equation of state for both R 290 and R 600a.

P=ρRT+E1RT−E2−E3T2+E4T3−E5T4 ρ2

+b RT–a–dTρ3+αa+dTρ6	(iii)

+cρ3T21+γρ2e–γρ2

where P is in Pa, and  is in kg/m3.

The  constant for the two refrigerants are given in the table below :

Constants 	Propane	Isobutene

R	1.887326 × 102	1.430797 × 102`

E1	1.366892 × 10–3	2.018128 × 10–3

E2	2.579108 × 102	2.964140 × 102

E3	3.401044 × 107	2.489763 × 107

E4	1.076728 × 109	1.163672 × 109

E5	3.375879 × 1010	6.371519 × 1010

b	1.096523 × 10–5	9.906333 × 10–6

a	7.856721 × 10–1	4.100261 × 10–1

d	1.639769 × 102	1.029360 × 102

c	1.661103 × 105	1.072632 × 105

	5.728034 × 10–9	5.253972 × 10–9

	9.157270 × 10–6	8.208363 × 10–6

From Eq. (iii) we obtain,

dPdTρ=ρR+ρ2E1R+E3T3–E4T4+E5T5+ρ3bR+dT2

–αρ6dT2–2cρ31+γρ2e–γρ2	(iv)

Substituting from the above, we obtain the following expressions for the vapour phase enthalpies and entropies of R 290 and R 600a.

h=ho+Pν–RT0+TToCpo–RdT

+ρE1R+E3T3–E4T4+E5T5–E1RT–E2–E3T2–E4T3+E5T4

–ρ22a–ρ55αdT+αdT2–3c e–γρ2T2γρ–1

–3cT21–e–γρ2–ρ2e–γρ22γ	(v)

s=s0+TT0dTT+R InRTρP0–ρE1R+2E3T3–3E4T4+4E5T5

–ρ22bR+dT2+ρ5αd5T2–2ce–γρ2T3γρ+1	(vi)

+2cγ T31–e–γρ2–cρ2e–γρ2γ T3

Correlation for Saturated Liquid Density

ρL=i=16DiTr1i–13	(vii)

Where L is in kg/m3, and

Tr1=1–TTc

and the constants are given in the table below :

Constants 	Propane	Isobutene

D1	1.9738193 × 102	1.9450561 × 102

D2	–2.1307184 × 101	–9.1725345 × 101

D3	3.3522024 × 103	2.4446128 × 103

D4	–7.7040243 × 103	–2.7219989 × 103

D5	–7.5224059 × 103	1.9324597 × 102

D6	–2.5663363 × 103	8.7037158 × 102

Zero pressure Constant Volume Specific Heat

Cvo=i=16CviTi–2	(viii)

Constants 	Propane	Isobutene

Cv1	2.0582170 × 105	1.7563902 × 105

Cv2	–1.9109547 × 103	- 1.7524300 × 103

Cv3	1.1622054 × 101	1.1642389 × 101

Cv4	-9.7951510 × 10-3	-1.0197170 × 10-2

Cv5	4.5167026 × 10-6	4.9006615 × 10-6

Cv6	-8.6345035 × 10-10	-9.8234416 × 10-10

u0	4.2027216 × 105	3.9342075 × 105

s0	2.1673997 × 103	1.8189390 × 103