##### Department of Civil & Environmental Engineering

##### Delhi College of Engineering, Delhi-110042

# CERTIFICATE

This is to certify that the project entitled “PERFORMANCE STUDY OF EFFLUENT TREATMENT PLANT OF SLAUGHTER HOUSE, AT GHAZIPUR, DELHI”, which is being submitted by me, under the guidance and supervision of Professor S.K. Singh in partial fulfillment of requirement for the award of the Degree of Master of Engineering in Civil (Environmental Engineering), Delhi College of Engineering, University of Delhi, Delhi.

The matter embodied in this project has not been submitted for the award of any other degree.

Gunjan Thakur

Roll no. 12392

Dr. S.K. Singh

Professor

# Project Supervisor

# ACKNOWLEDGEMENT

It is a great pleasure to have the opportunity to extend my heartiest felt gratitude to everybody who helped me throughout the course of this project.

It is distinct pleasure to express my deep sense of gratitude and indebtedness to my learned supervisor Dr. S. K. Singh for their invaluable guidance, encouragement and patient reviews. With their continuous inspiration only, it becomes possible to complete this dissertation and He kept on boosting me with time, to put an extra ounce of effort to realize this work.

I would also like to take this opportunity to present my sincere regards to all the faculty members of the Department for their support and encouragement.

I am grateful to my parents for their moral support all the time; they have been always around to cheer me up, in the odd times of this work. I am also thankful to my friends for their unconditional support and motivation during this work.

GunjanThakur

University Roll No. 12392

INDEX

Certificate									i

Acknowledgement								ii

Abstract									vii

CHAPTER	1	Introduction 						1

CHAPTER 	2         Literature Survey					3

- 2.1 	Introduction						3

- 2.2	Type of waste produced     				5

- 2.3	Classification			   			6

# 2.4	Operations during slaughtering			 	7

# 2.5 	Waste water quantity & characteristics			8

2.6	Work done in the field of SHW disposal			9

# CHAPTER   3         Materials and Methods                                        	11

- 3.1 	Introduction						11

3.2 	Waste water generation					11

3.3	Monitoring of inflow					12

3.4	Collection of samples					12

3.5	Selection of Characteristics parameters for analysis	12

3.6	Analytical methods for analysis of w/w samples		13

CHAPTER	5	Treatment of waste at Gazipur slaughterhouse	14

4.1	Introduction							14

4.2	Characteristics of SHW 					14

4.3	Level Sensing Mechanism					14

4.4	Screen								15

4.5	Dissolved Air Floatation (DAF)				15

4.6	Equalization tank						18

4.7	UASB Reactor						20

4.8	Biogas holder						23

4.9	Pre aeration tank						24

4.10	Aeration tanks and Clarifiers				25

CHAPTER	5	Measures proposed to improve the

SHW management					30

5.1 Odour control							30

5.2 Modernization of slaughterhouse				30

5.3 Curbing activities of illegeal slaughtering			30

5.4 Provision of dry rendering plants				31

CHAPTER 	6 	Results & discussion 				32

# 6.1	Introduction              					32

# 6.2	Wastewater characteristics                    			32

6.3	Performance study of Slaughterhouse treatment plant	34

CHAPTER 	7 	Conclusions and Recommendations		40

7.1	Conclusion							40         7.2	Recommendations						41

References							42

## LIST OF TABLES

## TABLE NO. 						PAGE NO.

TABLE-2.1	Types of waste produced					5

TABLE-2.2 	Characteristics of effluent coming from SH			5

TABLE-3.6	Analytical methods for analysis of w/w			13       TABLE-6.1	Characteristics of effluent coming from DAF		34

TABLE-6.2	Characteristics of effluent coming from equalization tank	35

TABLE-6.3	Characteristics of effluent coming from UASBR		36

TABLE 6.4	Characteristics of effluent coming from Clarifier		37

TABLE 6.5	Characteristics of wastewater after treatment			38

TABLE 6.6	Characteristics of final effluent Gazipur ETP			39

# LIST OF FIGURES

## FIGURE NO. 							PAGE NO.

FIGURE – 1 & 2 Dissolved Air Floatation					18

FIGURE – 3 & 4  Equalization tank						20

FIGURE - 5         UASBR							21

FIGURE – 6        Gas holder & Flare off					23

FIGURE - 7	     Buffer tank							25

FIGURE – 8         Aeration tank      						27

FIGURE – 9 & 10 Final Clarifier   						29

Abstract

The Municipal corporation of Delhi has setup a food processing complex (Meat) comprising of a state of art slaughter house at Ghazipur, Delhi next to the existing poultry market near Delhi & UP Border.

In the slaughter house, bovines i.e. large animals like cattle & buffalo and goat and sheep are slaughtered and meat is obtained from them. In a slaughter house the water is used for drinking by animals during lairage, washing saligatring and bleeding areas, washing of dressing halls , cleaning intestines , cleaning of knife , axis , tables & any other equipment in the slaughter house. Further a considerable amount of water is also consumed inside the premises of the factory for the toilets canteen (for employees of the slaughter house complex), drinking and washing of meat dealers, animal traders, butchers, and transporters. Except for domestic water consumption and drinking water provided for animals for lairage, the major portion of the water is discharge as waste water.

Slaughter house effluents have a characteristic brownish, blood like appearance and special repugnant odor .The organic compounds occur as suspended matter solution and colloids. The effluent of a slaughter house or meat packing factory / industry may also contain pathogenic microorganisms in edition to other pollutants like BOD, COD & TSS.

A concerted effort has been made by the complex authorities to contain the waste water discharge and treat the same to control the effluent quality in order to comply with the requirement of DPCC. A detail analysis of the control system and same was further checked by monitoring specific steam analyzing the same.